Committed Carbon Emissions Operation Regions of Power System: Concept and Method

FENG Janbing1, REN Zhouyang1, JIANG Yunpeng1, LI Wenyuan1

State Key Laboratory of Power Transmission Equipment Technology (School of Electrical Engineering, Chongqing University), Shapingba District, Chongqing 400044, China1

| Keywords: |  | ABSTRACT |
| --- | --- | --- |
| low-carbon operation region theory deep learning feature engineering data and model hybrid driven |  | This paper first proposes the concept of committed carbon emission operation regions (CCEOR) to depict the low-carbon operation space (LCOS) of power system, which provides more comprehensive information for low-carbon operation analysis. Then, aiming at the construction of the CCEOR boundary (CCEORB) under the high-dimensional nonlinear spatio-temporal coupling variables of power system, this paper develops a CCEORB construction method based on data and model hybrid driven mechanism. With the feature engineering, neural network architecture based on attention mechanism and deep convolution, and data and model hybrid driven training mechanism, the presented method guarantees the efficiency accuracy of CCEORB. The study with the IEEE-118 test system verifies that the proposed CCEOR can be used as a basic tool for low-carbon operation analysis to achieve low-carbon feasibility assessment and regulation of operating states. Meanwhile, the efficiency and high-dimensional applicability of the proposed method are confirmed. In addition, the variation characteristics of CCEOR with key constraints are visually analyzed, including the boundary characteristics of LCOS and its saturation phenomenon, which further reveal the electric-carbon coupling mechanism of power system operation. |
| This work is licensed under a Creative Commons Attribution Non-Commercial 4.0 International License. |  |  |

1. INTRODUCTION

In recent years, global climate change caused by greenhouse gases represented by CO2 has become a severe problem faced by all countries worldwide, seriously affecting sustainable development of the world economy and human society [1], [2]. Climate change is the most important issue of sustainability [3]. How to reduce CO2 emissions is a common concern across countries worldwide [4]. As the most significant energy-consuming and CO2-emitting country globally, China bears a considerable responsibility to reduce global CO2 emissions [5], [6]. The Chinese government made an international commitment to address climate change at the 75th Session of the United Nations General Assembly: China aims to have carbon dioxide emissions peak before 2030 and achieve carbon neutrality before 2060. This commitment is in line with China’s national security and sustainable development strategy and an effective way to promote the international development of the carbon trading market.

Energy burning is the largest source of CO2 emissions in China, accounting for about 88% of total CO2 emissions [7], [8]; the electricity sector accounts for about 41% of energy sector emissions [9]; and coal consumption is responsible for 75% of CO2 emissions from fossil fuels [10], [11]. The electricity sector produces 25% of the world’s CO2 [12]. Coal-fired electricity generation is the predominant form of electricity generation in China, and the electricity generation industry produces more than 45% of the country’s total carbon emissions [13]. The “2030 · 2060” double carbon goals will be challenging to achieve if the structure of coal-burning-based energy consumption continues to hold. To maintain the economy’s growth and achieve a low-carbon electricity system, it is essential to improve energy use efficiency, and clean energy must occupy the dominant position [14].

The northwest region is the most important new energy base in China, exceeding 48% of the national developability of wind and solar technologies. As the central hub of the northwest electricity grid, Gansu Province has significant advantages in geographical location and ventilation (Figure 1). The electricity generation in Gansu Province has continued to rise since 2000 (Figure 2), increasing from 28.027 billion kWh in 2000 to 141.529 billion kWh in 2019, with a sharp increase of 404.97%. The percentage of coal-fired power generation peaked in 2004, with 74% of annual electricity generation. Since then, clean energy, such as hydraulic, wind, and solar energy, has increased yearly. Before 2016, fossil fuels were the largest source of electricity in Gansu Province, accounting for more than 50% of all sources. In 2017, thermal electricity accounted for 47%, and clean energy accounted for 53%; the proportion of clean electricity generation exceeded coal-fired electricity for the first time. By the end of 2020, the capacity for electricity supply had reached 56.2 million kW, with 41.9% of new energy units using wind and solar energy as representatives, and 59% of clean energy units, including hydroelectricity, become the most significant source in Gansu Province. The total carbon emission of Gansu Province has gradually increased since 2000 (Figure 3). In 2000, the carbon emission of Gansu Province was 54.3 Mt, of which the electricity generation industry accounted for 14.25 Mt. In 2013, the direct carbon emission of the power industry reached a peak of 65.66 Mt. After 2013, as the direct carbon emission of power production decreased, it slowed down the total growth rate in Gansu Province to a certain extent.

2. Conclusions

This study used the IPCC carbon inventory and the power grid carbon dioxide emission factor method to account for carbon emissions based on the electricity production, transmission, and consumption stages in 2000–2019 in Gansu Province. In addition, we analyzed the drivers of electricity-related carbon emissions in these three stages with LMDI and SDA. The main conclusions are as follows:

- Direct carbon emissions during the stage of electricity production had the largest share of the entire electricity life cycle, and they accounted for 45.42% of total carbon emissions in Gansu Province.

- From the perspective of the cumulative contribution rate, electricity consumption and the electricity trade promoted carbon emissions in the stage of electricity production; the power structure, electricity efficiency, and fuel structure had opposite effects.

- In the stage of electricity transmission, the higher the voltage level, the lower the net loss rate, and high-voltage-level transmission lines effectively reduced the growth of implied carbon emissions.

- Industrial restructuring and technological advances effectively offset the growth in carbon emissions due to population, economy, and electricity consumption.

3. References

[1] Lin, B.; Xu, B. How does fossil energy abundance affect China’s economic growth and CO2 emissions? Sci. Total Environ. 2020, 719, 137503.

[2] Mi, Z.; Zheng, J.; Meng, J.; Zheng, H.; Li, X.; Coffman, D.; Woltjer, J.; Wang, S.; Guan, D. Carbon emissions of cities from a consumption-based perspective. Appl. Energy 2018, 235, 509–518.

[3] Zoldy, M.; Szalmane Csete, M.; Kolozsi, P.P.; Bordas, P.; Torok, A. Cognitive Sustainability. Cogn. Sustain. 2022, 1.

[4] Wang, B.; Ji, F.; Zheng, J.; Xie, K.; Feng, Z. Carbon emission reduction of coal-fired power supply chain enterprises under the revenue sharing contract: Perspective of coordination game. Energy Econ. 2021, 102, 105467.

[5] Peng, J.; Xie, R.; Lai, M. Energy-related CO2 emissions in the China’s iron and steel industry: A global supply chain analysis. Resour. Conserv. Recycl. 2018, 129, 392–401.

[6] Peng, X.; Tao, X.; Zhang, H.; Chen, J.; Feng, K. CO2 emissions from the electricity sector during China’s economic transition: From the production to the consumption perspective. Sustain. Prod. Consum. 2021, 27, 1010–1020.

[7] Shan, Y.; Liu, Z.; Guan, D. CO2 emissions from China’s lime industry. Appl. Energy 2016, 166, 245–252.

[8] Chen, L.; Wemhoff, A.P. Predicting embodied carbon emissions from purchased electricity for United States counties. Appl. Energy 2021, 292, 116898.

[9] Shi, K.; Yang, Q.; Fang, G.; Yu, B.; Chen, Z.; Yang, C.; Wu, J. Evaluating spatiotemporal patterns of urban electricity consumption within different spatial boundaries: A case study of Chongqing, China. Energy 2019, 167, 641–653.

[10] Wei, W.; Wang, X.; Zhu, H.; Li, J.; Zhou, S.; Zou, Z. Carbon emissions of urban power grid in Jing-Jin-Ji region: Characteristics and influential factors. J. Clean. Prod. 2017, 168, 428–440.

[11] Tong, D.; Zhang, Q.; Davis, S.; Liu, F.; Zheng, B.; Geng, G.; Xue, T.; Li, M.; Hong, C.; Lu, Z.; et al. Targeted emission reductions from global super-polluting power plant units. Nat. Sustain. 2018, 1, 59–68.

[12] Tranberg, B.; Corradi, O.; Lajoie, B.; Gibon, T.; Staffell, I.; Andresen, G.B. Real-time carbon accounting method for the European electricity markets. Energy Strategy Rev. 2019, 26, 100367.

[13] Zhang, P.; Cai, W.; Yao, M.; Wang, Z.; Yang, L.; Wei, W. Urban carbon emissions associated with electricity consumption in Beijing and the driving factors. Appl. Energy 2020, 275, 115425.

[14] Shang, W.; Pei, G.; Walsh, C.; Meng, M.; Meng, X. Have Market-oriented Reforms Decoupled China’s CO2 Emissions from Total Electricity Generation? An Empirical Analysis. Sustainability 2016, 8, 468.

[15] Ma, J.-J.; Du, G.; Xie, B.-C. CO2 emission changes of China’s power generation system: Input-output subsystem analysis. Energy Policy 2019, 124, 1–12.

[16] Wei, W.; Hao, S.; Yao, M.; Chen, W.; Wang, S.; Wang, Z.; Wang, Y.; Zhang, P. Unbalanced economic benefits and the electricity-related carbon emissions embodied in China’s interprovincial trade. J. Environ. Manag. 2020, 263, 110390.

[17] Shan, Y.; Guan, D.; Zheng, H.; Ou, J.; Li, Y.; Meng, J.; Mi, Z.; Liu, Z.; Zhang, Q. China CO2 emission accounts 1997–2015. Sci. Data 2018, 5, 170201.

[18] Wang, F.; Shackman, J.; Liu, X. Carbon emission flow in the power industry and provincial CO2 emissions: Evidence from cross-provincial secondary energy trading in China. J. Clean. Prod. 2017, 159, 397–409.

[19] Akpan, P.; Fuls, W. Cycling of coal fired power plants: A generic CO2 emissions factor model for predicting CO2 emissions. Energy 2021, 214, 119026.

[20] Du, M.; Wang, X.; Peng, C.; Shan, Y.; Chen, H.; Wang, M.; Zhu, Q. Quantification and scenario analysis of CO2 emissions from the central heating supply system in China from 2006 to 2025. Appl. Energy 2018, 225, 869–875.

[21] Mishra, M.K.; Khare, N.; Agrawal, A.B. Scenario analysis of the CO2 emissions reduction potential through clean coal technology in India’s power sector: 2014–2050. Energy Strategy Rev. 2015, 7, 29–38.

[22] Wei, W.; Zhang, P.; Yao, M.; Xue, M.; Miao, J.; Liu, B.; Wang, F. Multi-scope electricity-related carbon emissions accounting: A case study of Shanghai. J. Clean. Prod. 2020, 252, 119789.

[23] Lin, B.; Du, Z. How China’s urbanization impacts transport energy consumption in the face of income disparity. Renew. Sustain. Energy Rev. 2015, 52, 1693–1701.

[24] Sung, W.-P.; Tsai, T.-T.; Wang, H.-J.; Wu, M.-J. Analysis of energy and carbon dioxide emission caused by power consumption. Int. J. Energy Res. 2011, 35, 1014–1022.

[25] Zhang, T.; Song, Y.; Yang, J. Relationships between urbanization and CO2 emissions in China: An empirical analysis of population migration. PLoS ONE 2021, 16, e0256335.

[26] Sun, W.; Cai, H.; Wang, Y. Refined Laspeyres Decomposition-Based Analysis of Relationship between Economy and Electric Carbon Productivity from the Provincial Perspective—Development Mode and Policy. Energies 2018, 11, 3426.